## Slide 1: Chromatographic Studies on some Selective Estrogen Receptor Modulators used in Doping in Sports
Ruth Speidel
Dr. Karim Abdelhay
Eastern Kentucky University

## Slide 2: Background

## Slide 3: World Anti-Doping Agency (WADA)

## Slide 4: Toremifene
Selective Estrogen Receptor Modulator
  Hormone Modulator
Medical Use: Breast Cancer and Osteoporosis
Doping Use: Increase Testosterone Levels (in men)
Blocks estrogen activity
  Prevents gynecomastia (unlike anabolic steroids)

## Slide 5: Toremifene
Absorption:
  Peak plasma concentration 2-6 hours
Distribution:
  99.7% binds to plasma protein
Elimination:
  Majority in feces

## Slide 6: Trimetazidine
Metabolic Modulator
Medical Use: treat angina pectoris (not FDA approved)
Doping Use:
  decrease contractility
  increase fatty acid oxidation (ATP production)

## Slide 7: Trimetazidine
Absorption:
  Peak plasma concentration 2 hours
Distribution:
  Weakly binds to plasma proteins
Elimination:
  Approximately 80% eliminated in the urine
  Approximately 60% unchanged parent compound
Dazsi, C.A. Trimetazidine in Practice :Review of the Clinical and Experimental Evidence. Am J Therap 2016, 23: 871-879

## Slide 8: GC-MS
Gas Chromatography- Mass Spectroscopy
Gas Chromatography
  Column: HP-5ms (5%-phenyl)-methlpolysiloxane
  Mobile Phase: Helium
Mass Spec
  Ionization Source (Electron Ionization)
  Mass Analyzer (Quadrupole)
  Detector (Electron Multiplier)

## Slide 9: Method Development and Method Optimization

## Slide 10: Method Development Toremifene
Retention Time: 24.9 min
Inlet
  250oC
  10 psi
Auxiliary Heater
  280oC
Temperature Program

## Slide 11: Method Optimization Toremifene
Retention Time: 20.8 min
Inlet & Aux heater
  Same
Temperature Program
Retention Time: 16.8 min
Inlet & Aux heater
  Same
Temperature Program

## Slide 12: Method Optimization Toremifene
Retention Time: 15.9 min
Inlet & Aux heater
  Same
Temperature Program

## Slide 13: SIM Toremifene

## Slide 14: Method Development Trimetazidine
Retention Time: 17.3 min
Inlet
  250oC
  10 psi
Auxiliary Heater
  280oC
Temperature Program

## Slide 15: Method Optimization Trimetazidine
Retention Time: 14.0 min
Inlet & Aux heater
  Same
Temperature Program
Retention Time: 10.2 min
Inlet & Aux heater
  Same
Temperature Program

## Slide 16: SIM Trimetazidine

## Slide 17: Calibration

## Slide 18: External Calibration Toremifene

## Slide 19: Internal Standard Toremifene
Tamoxifen
Toremifene

## Slide 20: Internal Standard Toremifene

## Slide 21: External Calibration Trimetazidine

## Slide 22: Internal Standard Trimetazidine
Trimetazidine
Propranolol

## Slide 23: Internal Standard Trimetazidine

## Slide 24: Biological Fluids

## Slide 25: Trimetazidine in Urine
Liquid Extraction
  Add NaOH to urine until pH≈12
  Extract with 7 mL of Chloroform

## Slide 26: Trimetazidine in Urine

## Slide 27: Next Steps
Use biological fluids
  Toremifene in Plasma
Method Validation
  Demonstrate that it is suitable for its intended purpose

## Slide 28: Acknowledgements
Huge THANK YOU to Dr. Abdelhay
Thank you to my committee members
Dr. Jamie Fredricks
Dr. Jerome May
Dr. Cindy Tran