## Slide 1: Testing The Limits of the Rspec Explorer Spectroscope
Jacob M. Wagoner
Dr. Jennifer Birriel
Morehead State University

## Slide 2: Rspec System and software
Slit-less diffraction grating spectroscope
USB connection to computer
Passively powered by USB connection
Spectral range: 390 – 700nm.
Auto focus
Wavelength calibrated
Software: Acquisition and Analysis.
Designed for classroom demonstrations.
Simple to use

## Slide 3: Beyond Optical Spectroscopy
Rspec can be recalibrated for infrared detection

## Slide 4: RSPEC Infrared Spectral Response
Xnite715 – Halogen bulb flashlight with IR filter

## Slide 5: Chip Response
Absorption from glass cover and grating.

## Slide 6
Hydrogen Gas Discharge

## Slide 7
He Gas

## Slide 8: Rspec Infrared ?
Not good for infrared spectroscopy
BUT a good demonstration of absorption of IR by glass,etc.

## Slide 9: Raman Scattering?
Inspiration
Article Methodology
Diffraction grating taped to smartphone camera
Laser pointers: Green & Blue < 5 mW
100, 10 second exposures coadded
Requires student to wavelength calibrate with know spectral lines
Time consuming, challenging

## Slide 10: Raman Scattering

## Slide 11: Experimental Approach
Raman shift is wavelength dependent
Only redshifted Stokes line detectable with RSpec
Materials:
  50 mW Blue (405 nm) and Green (532 nm) laser pointers
  Distilled H20
  Black background
  Slit
Raman lines should be detected transverse direction of laser beam

## Slide 12: Experimental Setup

## Slide 13: Distilled water 405nm Laser

## Slide 14: Distilled Water 532nm Laser

## Slide 15: Raman Scattered Lines ?
Expected at
  ~470 nm for 405 nm excitation
  ~640 nm for 532 nm excitation
Research paper using cell phones demonstrates the line should be easily detected above background.
Not visible in our spectra
  RSpec video auto adjusts based on brightest image
  Rspec camera mode doesn’t allow user to adjust ISO or exposure time

## Slide 16: Conclusion
Infrared spectroscopy is limited but…
  Xnite 715 can be used to show “instrumental profile”
  Can show students some infrared from sources
  Cannot show IR lines from discharge tubes
Raman spectroscopy
  Need to adjust ISO and exposure time
  Probably need to “jailbreak” camera software to achieve
Rspec great device for bright optical emission and absorption spectroscopy – like gas discharge tubes, light bulbs, glowsticks.