## Slide 1
S. Gayhart, M. Shehata1, 2, A. Switala 1, A. El-Baz 1
1 BioImaging Laboratory, Bioengineering Department, University of Louisville, Louisville, KY, USA.
2 Computer Engineering and Computer Science Department, University of Louisville, Louisville, KY, USA.
A MACHINE LEARNING-BASED C.A.D
SYSTEM FOR EARLY DETECTION
AND CLASSIFICATIONOF RENAL TUMORS

## Slide 2
Objectives
Malignant renal cell
carcinoma (RCC)
Vs.
Benign mass
Clear cell renal cell
carcinoma (ccRCC)
Vs.
Non-clear cell cell
carcinoma (nccRCC)
Malignant masses
then subtyped

## Slide 3
Introduction
Subtypes of Renal Masses
  Benign: 30% of diagnosis'
    oncocytomas
    fat-poor angiomyolipoma
  Malignant: 70% of diagnosis'
Renal Cell Carcinoma
  The most common renal tumor in adults.
  2% of world cancer diagnosis'
  4% of U.S. cancer cases for 2021.
  ~ 5.1 billion spent in the U.S. on treatment.
Computer Aided Diagnosis
  Uses CE-CT scans and differences in contrast enhancement for diagnosis
  Texture analysis extracts several quantitative features from scans
  Machine learning classifiers use features to distinguish between subtypes
    Clear cell papillary
    Collecting duct
    Clear cell
    Papillary
    Chromophobe
    Medullary
(a) AML (b) ccRCC (c) nccRCC

## Slide 4
Motivations
Staging and subtyping is significant to the patients treatment plan, and patient outcome.
Once the tumor has spread, survival
rates drop.
Diagnosis is most commonly done through needle biopsy, which can be:
    Painful
    Unnecessary
    Costly
Computer aided diagnostics are useful for physicians in that they eliminate the invasive risk biopsy poses

## Slide 5
Materials
Subtypes
  Of 140 Patients included
needle biopsy found:
    70 Malignant tumors
      40 ccRCC
      30 nccRCC
    70 Benign masses
Cohort
  Scans taken in Egypt
  Imaging on multi-phase CT
scanner included:
    pre-contrast
    portal-venous
    delayed-contrast phase.
  Age 15-87 years
  72 males and 68 Females

## Slide 6
Methods
Renal cancer computer-assisted diagnosis (RC-CAD) system
Renal tumor preprocessing (segmentation):
The 2D scans were manually segmented containing only the ROI, and then stacked together to form a 3D model of the tumor

## Slide 7
Methods
Renal cancer computer-assisted diagnosis (RC-CAD) system
Feature extraction:
The 3D models were used for the quantification of morphological, textural, and functional features.
Benign Malignant Malignant
AML ccRCC nccRCC

## Slide 8
Methods
Renal cancer computer-assisted diagnosis (RC-CAD) system
Artificial neural network:
A multilayer perception ANN was used in the final two step classification system.

## Slide 9
Results
Akaike’s information criterion (AIC) was used to compare the efficacy of each feature category. Sixteen models were created for both classification steps.
Table 1. Candidate models for predicting RCC based on features derived from imaging data. Bullets indicate feature sets that are included in the model
First Stage Classification: Malignant vs. Benign

## Slide 10
Results
Table 2. Candidate models for discriminating ccRCC from PRCC and ChRCC based on features derived from imaging data. Bullets indicate feature sets that are included in the model
Second Stage Classification: ccRCC vs nccRCC

## Slide 11
Results
Figure 1. ROC of the best predictive model for the first stage of classification, model 7, which includes GLCM and functional features.
Table 1. Comparison of sensitivity and specificity of the best predictive AIC models of first and second stage classification

## Slide 12
Discussion
  The first stage classification system performed efficiently in differentiating between malignant and benign masses. The best predictive AIC model, model 7, included GLCM and functional features with an AIC weight of 1.0.
  Second stage classification was found to have a lower classification for differentiating between subtypes.
    AIC weights showed functional features as the most useful feature in this model.
  For future studies, we hope a larger cohort of patients will lead to an accurate differential diagnosis in the second step of classification.

## Slide 13
  Coy, H., Young, J. R., Douek, M. L., Brown, M. S., Sayre, J., & Raman, S. S. (2017). Quantitative computer-aided diagnostic algorithm for automated detection of peak lesion attenuation in differentiating clear cell from papillary and chromophobe renal cell carcinoma, oncocytoma, and fat-poor angiomyolipoma on multiphasic multidetector computed tomography. Abdominal Radiology, 42(7), 1919–1928. https://doi.org/10.1007/s00261-017-1095-6
  Shehata, M., Alksas, A., Abouelkheir, R. T., Elmahdy, A., Shaffie, A., Soliman, A., Ghazal, M., Khalifeh, H. A., Razek, A. A., & El-Baz, A. (2021). A New Computer-Aided Diagnostic (Cad) System For Precise Identification Of Renal Tumors. 2021 IEEE 18th International Symposium on Biomedical Imaging (ISBI). Published. https://doi.org/10.1109/isbi48211.2021.9433865
  UCLA. (2014). Types of Kidney Cancer - UCLA Urology, Los Angeles, California (CA). UCLA Urology. https://www.uclahealth.org/urology/types-of-kidney-cancer
  Warren, A. Y., & Harrison, D. (2018). WHO/ISUP classification, grading and pathological staging of renal cell carcinoma: standards and controversies. World Journal of Urology, 36(12), 1913–1926. https://doi.org/10.1007/s00345-018-2447-8
References